## DETAILED ESTIMATE
EXCEL ESTIMATION.LLC |  |  | Project:
CUSTOMER ID: |  |  | Address:
Date:
SR# | CSI SECTION | MATERIAL DESCRIPTION | QUANTITY | WASTAGE | QTY. W/ WASTAGE | UNIT OF MEASUREMENT | UNIT COST | TOTAL ITEM COST | TOTAL TRADE COST
DIV.01 |  | GENERAL CONDITIONS
1 |  | Permits Documentation And Fees | 1 | 0% | 1 | LS |  | 0
2 |  | Hazardous Waste Or Disposal Work | 1 | 0% | 1 | LS |  | 0
3 |  | Signage | 1 | 0% | 1 | LS |  | 0
4 |  | Supervisory Personnel | 1 | 0% | 1 | LS |  | 0
5 |  | Lighting And Power | 1 | 0% | 1 | LS |  | 0
6 |  | Toilet Facilities | 1 | 0% | 1 | LS |  | 0
7 |  | Material Storage | 1 | 0% | 1 | LS |  | 0
8 |  | Cleaning | 1 | 0% | 1 | LS |  | 0
|  | SUB-TOTAL | [6 empty] | 0
DIV.03 |  | CONCRETE
Concrete For Slab
9 |  | 6" Thick Concrete Slab Reinforced W/ #4 Rebars Spaced @12" O.C. Eachway Provide W/ Steel Slab Bolsters @36" O.C. | 7004 | 10% | 7704.4 | SF | 8.3 | 63946.52
10 |  | 12" Thick Concrete Pad On Grade Reinforced W/ #5 Rebars @12" O.C. Eachway Top And Bottom | 225 | 10% | 247.5 | SF | 10.6 | 2623.5
Concrete For Foundation
11 |  | Concrete For Foundation Reinforced W/ 4-#6 Continuous W/#3 Stirrups @16" O.C. | 103 | 10% | 113.3 | CY | 800 | 90640
12 |  | Concrete For Foundation Reinforced W/ 5-#6 Continuous W/#3 Stirrups @16" O.C. | 81 | 10% | 89.1 | CY | 800 | 71280
13 |  | Concrete For Foundation Reinforced W/ 16-#6 Continuous W/#3 Stirrups @16" O.C. | 16 | 10% | 17.6 | CY | 800 | 14080
14 |  | Concrete For Wall Reinforced W/ 2 #5 Vertical Rebars @16" O.C. Fully Extended Into Grade Beam And #5 Continuous Nosing Rebars | 12 | 10% | 13.2 | CY | 800 | 10560
Concrete For Piers Foundation
15 |  | Concrete For Pier Reinforced W/ 4-#5 Vertical Rebars And #3 Ties @12" O.C. Extend Reinforceing 1'-6" Into Grade Beam | 144 | 10% | 158.4 | CY | 850 | 134640
16 |  | Concrete For Pier Reinforced W/ 4-#6 Vertical Rebars And #3 Ties @12" O.C. Extend Reinforceing 1'-6" Into Grade Beam | 373 | 10% | 410.3 | CY | 850 | 348755
17 |  | Concrete For Pier Reinforced W/ 4-#5 Vertical Rebars And #3 Ties @12" O.C. Extend Reinforceing 1'-6" Into Grade Beam | 4 | 10% | 4.4 | CY | 850 | 3740
18 |  | Concrete For Pier Reinforced W/ 6-#6 Vertical Rebars And #3 Ties @12" O.C. Extend Reinforceing 1'-6" Into Grade Beam | 14 | 10% | 15.4 | CY | 850 | 13090
Concrete For Bond Beams
19 |  | Concrete Bond Beam Reinforced W/ 2 #5 Continuous Horizontal Reinforcement @Top | 11 | 10% | 12.1 | CY | 750 | 9075
Carton Forms Base
20 |  | 6" Void Boxes Cont. Throughout (Contractor To Ensure Cartons Are Securely Held In Place, Tape All Ends And Joints Securely To Prevent Concrete From Entering Cartons) | 7004 | 10% | 7704.4 | SF | 6.8 | 52389.92
Additional Reinforcements
21 |  | #5 X4'-0" Corner Bars Bent @Center | 27 | 0% | 27 | EA | 5.4 | 145.8
Concrete Steps
22 |  | Concrete Stairs | 9 | 0% | 9 | RISER | 326 | 2934
|  | SUB-TOTAL | [6 empty] | 817899.74
DIV.04 |  | MASONRY
Concrete Block Walls
23 |  | 8" Concrete Block Masonry Unit Wall Reinforced W/ #5 X36" Dowels @24" Hook @Bottom | 228 | 10% | 250.8 | SF | 22 | 5517.6
24 |  | Stone Coping | 156 | 10% | 171.6 | LF | 26 | 4461.6
|  | SUB-TOTAL | [6 empty] | 9979.2
DIV.05 |  | METALS
Structural Steel Sections
25 |  | Hollow Steel Section 10X2X1/4 | 45 | 10% | 49.5 | LF | 27 | 1336.5
26 |  | Hollow Steel Section 2X2X1/4 | 28 | 10% | 30.8 | LF | 26.4 | 813.12
27 |  | Hollow Steel Section 6X2X1/4 | 39.42 | 10% | 43.362 | LF | 23 | 997.326
28 |  | Hollow Steel Section 6X6X3/8 | 96 | 10% | 105.6 | LF | 34 | 3590.4
29 |  | Hollow Steel Section 8X2X1/4 | 96.45 | 10% | 106.095 | LF | 35 | 3713.325
30 |  | Hollow Steel Section 4X2X1/4 | 86 | 10% | 94.6 | LF | 29 | 2743.4
31 |  | Hollow Steel Section 8X2X1/4 | 102 | 10% | 112.2 | LF | 37 | 4151.4
32 |  | Steel Section W10X19 | 43.88 | 10% | 48.268 | LF | 46 | 2220.328
33 |  | Steel Section W14X43 | 197.42 | 10% | 217.162 | LF | 54 | 11726.748
34 |  | Steel Section L7X4X3/8 | 87 | 10% | 95.7 | LF | 32 | 3062.4
35 |  | Steel Section L2-1/2X2-1/2X3/8 | 109 | 10% | 119.9 | LF | 39 | 4676.1
Hardwares
36 |  | 3/8"X6-1/2"X6-1/2" Cap Plate | 12 | 0% | 12 | EA | 120 | 1440
37 |  | 3/8"X3"X9" Kerf Plate W/ 2-5/8" Dia Hdg Bolts | 18 | 0% | 18 | EA | 135 | 2430
38 |  | 1/2"X6"X6" Steel Plate W/ 2-1/2" Dia X6" Nelson Studs | 22 | 0% | 22 | EA | 140 | 3080
39 |  | 3/4"X8"X8" Steel Plate W/ 4-5/8" Dia X12" Nelson Studs Welded To Plate | 8 | 0% | 8 | EA | 129 | 1032
40 |  | 1/4" Closer Plate | 34 | 0% | 34 | EA | 96 | 3264
|  | SUB-TOTAL | [6 empty] | 50277.047
DIV.06 |  | WOOD, PLASTICS AND COMPOSITES
Structural Wooden Posts
41 |  | 2X4 Pressure Treated Wood Posts | 116 | 10% | 127.6 | LF | 3.6 | 459.36
42 |  | 2X6 Pressure Treated Wood Posts | 87 | 10% | 95.7 | LF | 3.7 | 354.09
43 |  | 2X10 Pressure Treated Wood Posts | 47 | 10% | 51.7 | LF | 3.9 | 201.63
Structural Lumbers
44 |  | 2X6 Wood Blocking | 576 | 10% | 633.6 | LF | 3.7 | 2344.32
45 |  | 1-3/4X9-1/4 Versalam Hip Beam | 69.54 | 10% | 76.494 | LF | 4.1 | 313.6254
46 |  | 2X10 (Flush) Beam | 48.83 | 10% | 53.713 | LF | 3.9 | 209.4807
47 |  | 2X10 Cedar Beam Cover | 222.82 | 10% | 245.102 | LF | 3.9 | 955.8978
48 |  | 2X10 Hip Beam | 78.43 | 10% | 86.273 | LF | 3.9 | 336.4647
49 |  | 2X10 Pressure Treated (1# W.C.) Beam | 507.71 | 10% | 558.481 | LF | 4 | 2233.924
50 |  | 2X10 Pressure Treated (Hip Brace Beam) | 140.71 | 10% | 154.781 | LF | 4 | 619.124
51 |  | 2X10 Pressure Treated Beam W/ Solid Spacer (1# Wrc) | 89.29 | 10% | 98.219 | LF | 4 | 392.876
52 |  | 2X12 (Flush) Beam | 38.58 | 10% | 42.438 | LF | 4.23 | 179.5127
53 |  | 2X12 (Raised W/ Hidden Simpson Mts16. Each End) To Support Cantilevered Ridge Above) | 29.87 | 10% | 32.857 | LF | 4.23 | 138.9851
54 |  | 2X12 Hip Beam | 167.24 | 10% | 183.964 | LF | 4.23 | 778.1677
55 |  | 2X12 Pressure Treated Header | 338 | 10% | 371.8 | LF | 4.23 | 1572.714
56 |  | 2X12 Ridge Beam | 27.79 | 10% | 30.569 | LF | 4.23 | 129.3069
57 |  | 2X4 Pressure Treated Ripped Beam | 298.18 | 10% | 327.998 | LF | 3.6 | 1180.7928
58 |  | 2X6 Pressure Treated Column | 263 | 10% | 289.3 | LF | 3.8 | 1099.34
59 |  | 2X8 (1# W.C.) Hip Beam W/ 2X7 (1-1/2"X6-1/4") Between | 159.79 | 10% | 175.769 | LF | 3.8 | 667.9222
60 |  | 2X8 Cedar Clad Beam | 39.42 | 10% | 43.362 | LF | 3.8 | 164.7756
61 |  | 2X8 Hip Brace Beam | 39.95 | 10% | 43.945 | LF | 3.8 | 166.991
62 |  | 2X8 Pressure Treated Header | 85.36 | 10% | 93.896 | LF | 3.8 | 356.8048
63 |  | 3-1/2X11-1/4 Apb (Flush) Beam | 99.7 | 10% | 109.67 | LF | 4.2 | 460.614
64 |  | 3-1/2X16 Apb (Flush) Beam | 102.49 | 10% | 112.739 | LF | 4.2 | 473.5038
65 |  | 3-1/2X9-1/4 Versalam Beam | 30.51 | 10% | 33.561 | LF | 4.2 | 140.9562
66 |  | 5-1/2X11-1/4 Apb Header | 37.58 | 10% | 41.338 | LF | 4.5 | 186.021
67 |  | 5-1/2X18 Apb (Flush) Beam | 138.66 | 10% | 152.526 | LF | 4.5 | 686.367
68 |  | 5-1/4X11-1/4 Apb (Flush) Beam | 21.06 | 10% | 23.166 | LF | 4.5 | 104.247
69 |  | 5-1/4X11-1/4 Versalam Cantilevered Beam | 77.25 | 10% | 84.975 | LF | 4.5 | 382.3875
70 |  | 6X6 Cedar Column W/ Hdg 5/8"Dia X24" Threaded Rod, Epoxy 10" Into 3/4" Dia Drilled Hole In Center Of Column @Top And Bottom W/ 2-Simpson Mts0 @Base | 24 | 10% | 26.4 | LF | 4.7 | 124.08
71 |  | 8X8 Pressure Treated Cedar Column | 352 | 10% | 387.2 | LF | 4.8 | 1858.56
72 |  | Cont. 2X8 Surface Nailer To Furred Ceiling | 39.21 | 10% | 43.131 | LF | 3.4 | 146.6454
73 |  | Cont. 3-1/2X11-1/4 Versalam Ridge Beam | 26.74 | 10% | 29.414 | LF | 3.8 | 111.7732
74 |  | Cont. 3-1/2X16 Apb Hip | 60.59 | 10% | 66.649 | LF | 3.8 | 253.2662
75 |  | Cont. 3-1/2X18 Versalam Beam Cantilevered @Both End | 65.43 | 10% | 71.973 | LF | 3.8 | 273.4974
76 |  | Cont. 5-1/2X14 Apb | 60.59 | 10% | 66.649 | LF | 3.9 | 259.9311
77 |  | Surface Valley | 82.96 | 10% | 91.256 | LF | 4.3 | 392.4008
78 |  | 2X4 Wood Studs @16" O.C. | 2601 | 10% | 2861.1 | SF | 2.7 | 7724.97
79 |  | 2X4 Wood Double Treated Runner | 787 | 10% | 865.7 | LF | 3.5 | 3029.95
80 |  | 3-1/2" Staggered Studs @8" O.C. | 532 | 10% | 585.2 | SF | 3.1 | 1814.12
81 |  | 5-1/2" Pressure Treated Wood Plate | 219 | 10% | 240.9 | LF | 4.3 | 1035.87
82 |  | 2X6 Wood Studs @16" O.C. | 2684 | 10% | 2952.4 | SF | 2.9 | 8561.96
83 |  | 2X6 Wood Double Treated Runner | 809 | 10% | 889.9 | LF | 3.7 | 3292.63
Joists, Rafters & Trusses
84 |  | 2X12 Rafters @24" O.C. | 991 | 10% | 1090.1 | SF | 3.2 | 3488.32
85 |  | 2X12 Rafters @24" O.C. W/ Sistered 2X8X48" Cedar Tails | 938 | 10% | 1031.8 | SF | 3.4 | 3508.12
86 |  | 2X12 Rafters Beam Under Ridge | 95.79 | 10% | 105.369 | LF | 4.6 | 484.6974
87 |  | 2X6 (#1 W.C.) Porch Rafters W/ 2X5 (1-1/2"X4-1/2") Between @42" O.C. | 4524 | 10% | 4976.4 | SF | 3.1 | 15426.84
88 |  | 2X6 Ceiling Joists @16" O.C. | 2931 | 10% | 3224.1 | SF | 2.9 | 9349.89
89 |  | 2X8 (1# W.C.) Rafters W/ 2X7 (1-1/2"X6-1/4") Between | 1535 | 10% | 1688.5 | SF | 3.1 | 5234.35
90 |  | 2X8 Ceiling Joists @16" O.C. | 1392 | 10% | 1531.2 | SF | 3.1 | 4746.72
91 |  | 2X8 Rafters @20" O.C. W/ 2X8X48" Rafters Sistered On Each Side @40" O.C. | 997 | 10% | 1096.7 | SF | 3.1 | 3399.77
92 |  | Pre-Engineered Open Web Trusses | 453 | 10% | 498.3 | SF | 4.2 | 2092.86
Plywood Sheathing
93 |  | 1/2" Cdx Exterior Grade Plywood Sheathing | 5956 | 10% | 6551.6 | SF | 3.5 | 22930.6
94 |  | 1/2" Cdx Plywood Sheathing | 3289 | 10% | 3617.9 | SF | 3.5 | 12662.65
95 |  | 3/4" Plywood Sheathing | 2544 | 10% | 2798.4 | SF | 3.4 | 9514.56
96 |  | 5/8" Plywood Sheathing | 654 | 10% | 719.4 | SF | 3.5 | 2517.9
Hardwares
97 |  | Simpson Cco | 34 | 0% | 34 | EA | 88 | 2992
98 |  | Simpson Lu26Z | 28 | 0% | 28 | EA | 76 | 2128
99 |  | Simpson Sds (Stainless Steel) | 76 | 0% | 76 | EA | 67 | 5092
100 |  | Simpson H2.5A Hurricane Clips | 220 | 0% | 220 | EA | 66 | 14520
101 |  | Simpson H8 | 146 | 0% | 146 | EA | 64 | 9344
102 |  | Simpson H4 Clips | 220 | 0% | 220 | EA | 57 | 12540
103 |  | Simpson Tha | 56 | 0% | 56 | EA | 87 | 4872
104 |  | Simpson Mts30 | 78 | 0% | 78 | EA | 64 | 4992
105 |  | Simpson Mts16 | 104 | 0% | 104 | EA | 59 | 6136
106 |  | Simpson Huc210-2 | 212 | 0% | 212 | EA | 59 | 12508
Millwork/Cabinetry
107 |  | 1'-0" Deep Closet Cabinetry | 24.1 | 10% | 26.51 | LF | 260 | 6892.6
108 |  | 1'-0" Deep Pantry Cabinets | 4.35 | 10% | 4.785 | LF | 240 | 1148.4
109 |  | 1'-0" Deep Shelving Cabinetry | 2.63 | 10% | 2.893 | LF | 300 | 867.9
110 |  | 1'-0" Deep Wall Cabinetry | 14.65 | 10% | 16.115 | LF | 230 | 3706.45
111 |  | 1'-10" Deep Upper Cabinetry | 6.92 | 10% | 7.612 | LF | 290 | 2207.48
112 |  | 1'-6" Deep Pantry Cabinets | 5.92 | 10% | 6.512 | LF | 320 | 2083.84
113 |  | 2'-0" Deep Base Cabinetry | 15.05 | 10% | 16.555 | LF | 290 | 4800.95
114 |  | 2'-0" Deep Closet Cabinetry | 3.33 | 10% | 3.663 | LF | 290 | 1062.27
Stairs
115 |  | Stairs With Finished Riser & Treads | 19 | 0% | 19 | RISER | 198 | 3762
|  | SUB-TOTAL | [6 empty] | 243183.0234
DIV.07 |  | THERMAL AND MOISTURE PROTECTION
116 |  | 6" Mil Min. Moisture Barrier | 7004 | 10% | 7704.4 | SF | 1.3 | 10015.72
117 |  | Icynene Open Cell Spray Foam Insulation | 3289 | 10% | 3617.9 | SF | 1.6 | 5788.64
118 |  | Acoustical Batt Insulation | 3117 | 10% | 3428.7 | SF | 1.4 | 4800.18
119 |  | 30 Lb. Felt Building Wrap | 3289 | 10% | 3617.9 | SF | 1.3 | 4703.27
120 |  | 15# Building Felt | 5965 | 10% | 6561.5 | SF | 1.2 | 7873.8
121 |  | Sound Attenuation Blanket | 654 | 10% | 719.4 | SF | 1.4 | 1007.16
122 |  | Icynene Open Cell Spray Foam Roof Insulation | 5965 | 10% | 6561.5 | SF | 1.6 | 10498.4
123 |  | Composition Shingles Roofing | 5965 | 10% | 6561.5 | SF | 4.7 | 30839.05
124 |  | Galvanized Metal Drip Edge Flashing | 454.5 | 10% | 499.95 | LF | 22 | 10998.9
125 |  | Galvanized Steel Half Round Gutter | 384 | 10% | 422.4 | LF | 11 | 4646.4
126 |  | Ice And Water Shield | 2394 | 10% | 2633.4 | SF | 5.2 | 13693.68
127 |  | Painted Roof Downspouts | 78 | 10% | 85.8 | LF | 26 | 2230.8
128 |  | Copper Flashing Membrane | 13 | 10% | 14.3 | LF | 18 | 257.4
129 |  | Sheet Metal Flashing | 342 | 10% | 376.2 | LF | 19 | 7147.8
130 |  | Flexible Flashing | 302 | 10% | 332.2 | LF | 21 | 6976.2
131 |  | Joint Sealant | 431 | 10% | 474.1 | LF | 3 | 1422.3
132 |  | Concealed Metal Flashing | 231 | 10% | 254.1 | LF | 17 | 4319.7
133 |  | Self Adhesive Waterproofing Membrane | 1938 | 10% | 2131.8 | SF | 1.5 | 3197.7
|  | SUB-TOTAL | [6 empty] | 130417.1
DIV.08 |  | OPENINGS
Doors
134 |  | 6'-0"X8'-0" Entry Door (Marvin), Frame Material: Wood Clad | 2 | 0% | 2 | EA | 760 | 1520
135 |  | 3'-0"X8'-0" Interior Pocket Mdf Door, Frame Material: Wood | 2 | 0% | 2 | EA | 660 | 1320
136 |  | 5'-0"X8'-0" Interior Mdf Double Door, Frame Material: Wood | 2 | 0% | 2 | EA | 730 | 1460
137 |  | 3'-0"X8'-0" Interior Mdf Door, Frame Material: Wood | 2 | 0% | 2 | EA | 690 | 1380
138 |  | 2'-4"X8'-0" Interior Mdf Door, Frame Material: Wood | 1 | 0% | 1 | EA | 650 | 650
139 |  | 6'-6"X8'-4" Interior Sliding Barn Door, Frame Material: Wood | 1 | 0% | 1 | EA | 740 | 740
140 |  | 2'-10"X8'-4" Interior Sliding Barn Wood Door, Frame Material: Wood | 1 | 0% | 1 | EA | 720 | 720
141 |  | 2'-11"X9'-2 1/2" Concealed Door W/ Door Paneling, Touch Latch, Soss Hinges, Frame Material: Wood | 1 | 0% | 1 | EA | 720 | 720
142 |  | 3'-0"X8'-0" Double Panel Pocket Mdf Door, Frame Material: Wood | 1 | 0% | 1 | EA | 730 | 730
143 |  | 4'-0"X7'-4" Interior Mdf Door, Frame Material: Wood | 1 | 0% | 1 | EA | 750 | 750
144 |  | 2'-0"X7'-4" Interior Mdf Pocket Door Align Top Of Head Trim With Top Of Adjucent Window Head Trim, Frame Material: Wood | 1 | 0% | 1 | EA | 690 | 690
145 |  | 8'-0"X7'-0" Double Panel Entry Door Balcony, Frame Material: Wood | 1 | 0% | 1 | EA | 850 | 850
Windows
146 |  | 3'-2"X5'-4" Fixed Glass Panel Window | 14 | 0% | 14 | EA | 580 | 8120
147 |  | 3'-2"X5'-4" Casement Glass Panel Window | 7 | 0% | 7 | EA | 590 | 4130
148 |  | 3'-2"X5'-4" Double Panel Glass Casement Window | 2 | 0% | 2 | EA | 590 | 1180
149 |  | 5'-6"X4'-2" Double Pane Glass Fixed Window | 8 | 0% | 8 | EA | 660 | 5280
150 |  | 3'-9 3/4"X4'-2" Double Pane Glass Fixed Window | 4 | 0% | 4 | EA | 650 | 2600
151 |  | 2'-7"X3'-7" Double Pane Glass Fixed Window | 4 | 0% | 4 | EA | 610 | 2440
|  | SUB-TOTAL | [6 empty] | 35280
DIV.09 |  | FINISHES
Drywalls
152 |  | 5/8" Gypsum Wall Board | 8343 | 10% | 9177.3 | SF | 1.3 | 11930.49
Floor Finishes
153 |  | Ipe Flooring | 100 | 10% | 110 | SF | 23 | 2530
154 |  | Stained And Sealed Hardwood Flooring | 480 | 10% | 528 | SF | 11.4 | 6019.2
155 |  | Saltillo Tile Flooring | 1765 | 10% | 1941.5 | SF | 17 | 33005.5
Base, Crown & Trim
156 |  | 4" High Tile Base | 378 | 10% | 415.8 | LF | 7.9 | 3284.82
157 |  | 1-1/2"X1/2" Wood Trim | 102 | 10% | 112.2 | LF | 7 | 785.4
Wall Finishes
158 |  | Saltillo Wall Tiles | 1768 | 10% | 1944.8 | SF | 17.6 | 34228.48
Ceiling Finishes
159 |  | 5/8" Gypsum Board Ceiling | 1232 | 10% | 1355.2 | SF | 1.4 | 1897.28
160 |  | Cedar Ceiling | 99 | 10% | 108.9 | SF | 3.4 | 370.26
161 |  | Tongue And Groove Yellow Pine | 2372 | 10% | 2609.2 | SF | 4.3 | 11219.56
162 |  | Wood Decking With False Ceiling | 87 | 10% | 95.7 | SF | 5 | 478.5
Paint Finishes
163 |  | Paint On Walls | 6238 | 10% | 6861.8 | SF | 1.4 | 9606.52
164 |  | Paint On Ceiling | 1349 | 10% | 1483.9 | SF | 1.4 | 2077.46
Exterior Finishes
165 |  | 1X6 Cedar Miter Corner | 45 | 10% | 49.5 | LF | 2.5 | 123.75
166 |  | Cedar Trim Board | 64 | 10% | 70.4 | LF | 2.5 | 176
167 |  | 1X3 Cedar Fascia Board | 67 | 10% | 73.7 | LF | 2.4 | 176.88
168 |  | Cedar Lap And Gap Horizontal Siding Secured W/ Stainless Steel Fasteners | 1767 | 10% | 1943.7 | SF | 9.8 | 19048.26
169 |  | Natural Thin Stone Veneer | 769 | 10% | 845.9 | SF | 35 | 29606.5
170 |  | Wood Siding | 40 | 10% | 44 | SF | 11 | 484
171 |  | Wood Siding With False Rafters | 268 | 10% | 294.8 | SF | 13 | 3832.4
172 |  | Flat Soffit At Balcony | 56 | 10% | 61.6 | SF | 12 | 739.2
|  | SUB-TOTAL | [6 empty] | 171620.46
DIV.10 |  | SPECIALITIES
173 |  | 9'-6"X4'-0" Kitchen Island W/ Drawer Cabinets Under | 1 | 0% | 1 | EA | 1050 | 1050
Toilet Accessories
174 |  | Soap Dispenser | 3 | 0% | 3 | EA | 75 | 225
175 |  | Toilet Paper Holder | 3 | 0% | 3 | EA | 110 | 330
176 |  | Towel Holder Bar | 3 | 0% | 3 | EA | 80 | 240
177 |  | 3'-0"X1'-0" Shower Seat | 1 | 0% | 1 | EA | 230 | 230
178 |  | 3'-6"X1'-0" Shower Bench | 1 | 0% | 1 | EA | 250 | 250
179 |  | 42" Grab Bar | 3 | 0% | 3 | EA | 154 | 462
180 |  | 36" Grab Bar | 3 | 0% | 3 | EA | 96 | 288
181 |  | 18" Vertical Grab Bar | 3 | 0% | 3 | EA | 80 | 240
182 |  | 3'-0" Stone Bath Partition | 1 | 10% | 1.1 | EA | 330 | 363
183 |  | Glass Shower Partition W/ Door | 1 | 0% | 1 | EA | 420 | 420
|  | SUB-TOTAL | [6 empty] | 4098
DIV.11 |  | EQUIPMENTS
184 |  | Dishwasher | 1 | 0% | 1 | EA | 780 | 780
185 |  | Double Bowl Sink | 1 | 0% | 1 | EA | 1650 | 1650
186 |  | Dryer | 1 | 0% | 1 | EA | 450 | 450
187 |  | Dryer Vent Chase | 1 | 0% | 1 | EA | 860 | 860
188 |  | Kitchen Range W/ Venthood | 1 | 0% | 1 | EA | 1870 | 1870
189 |  | Microwave | 1 | 0% | 1 | EA | 430 | 430
190 |  | Oven | 1 | 0% | 1 | EA | 550 | 550
191 |  | Sink | 1 | 0% | 1 | EA | 1320 | 1320
192 |  | Wine Refrigerator | 1 | 0% | 1 | EA | 680 | 680
193 |  | Refrigerator | 2 | 0% | 2 | EA | 720 | 1440
194 |  | Washer | 1 | 0% | 1 | EA | 740 | 740
195 |  | Tankless Water Heater | 1 | 0% | 1 | EA | 430 | 430
196 |  | Tv | 2 | 0% | 2 | EA | 280 | 560
197 |  | Recycle Bin | 1 | 0% | 1 | EA | 190 | 190
198 |  | Trash Enclosure | 1 | 0% | 1 | EA | 320 | 320
199 |  | 24" Sink | 1 | 0% | 1 | EA | 1320 | 1320
200 |  | Firepit | 1 | 0% | 1 | EA | 450 | 450
|  | SUB-TOTAL | [6 empty] | 14040
DIV.12 |  | FURNISHING
Railing
201 |  | 36" High Clear Coat Steel Bar (1-3/4"X1/4") W/ 1/2" Diameter Stainless Steel Rods @4" O.C. | 14.09 | 10% | 15.499 | LF | 52 | 805.948
202 |  | Balcony Guardrailing | 32 | 10% | 35.2 | LF | 56 | 1971.2
Countertops & Backsplash
203 |  | Granite Countertop | 24 | 10% | 26.4 | SF | 72 | 1900.8
204 |  | Kitchen Tile Backspalsh | 46 | 10% | 50.6 | SF | 28 | 1416.8
205 |  | Stone Countertop | 56 | 10% | 61.6 | SF | 78 | 4804.8
|  | SUB-TOTAL | [6 empty] | 10899.548
DIV.22 |  | PLUMBING
Sprinkler Piping
206 |  | 1" Dia Sprinkler Piping | 874.18 | 10% | 961.598 | LF | 15.4 | 14808.6092
207 |  | 1-1/2" Dia Sprinkler Piping | 187 | 10% | 205.7 | LF | 16.5 | 3394.05
208 |  | 2" Dia Sprinkler Piping | 65.59 | 10% | 72.149 | LF | 17.6 | 1269.8224
209 |  | 4" Dia Sprinkler Piping Fire Service | 87 | 10% | 95.7 | LF | 18.6 | 1780.02
Sprinkler Fixtures
210 |  | 2" Fcva | 2 | 0% | 2 | EA | 230 | 460
211 |  | 4" Dcva | 1 | 0% | 1 | EA | 230 | 230
212 |  | 4" Wet Riser Manifold | 1 | 0% | 1 | EA | 250 | 250
213 |  | Dry Sidewall Mounted Sprinkler Head, Finish: Concealed Type, Manufacturer And Model No: Viking, Freedom | 2 | 0% | 2 | EA | 275 | 550
214 |  | Sprinkler Head Pend Position, Finish: Concealed Type, Manufacturer And Model No: Viking, Freedom | 97 | 0% | 97 | EA | 290 | 28130
Plumbing Piping
215 |  | 1" Dia Piping | 221 | 10% | 243.1 | LF | 15.4 | 3743.74
216 |  | 2" Dia Piping | 656 | 10% | 721.6 | LF | 17.6 | 12700.16
217 |  | 3" Dia Piping | 210 | 10% | 231 | LF | 17.9 | 4134.9
218 |  | 4" Dia Piping | 228 | 10% | 250.8 | LF | 18.7 | 4689.96
219 |  | 1/2" Dia Piping | 256 | 10% | 281.6 | LF | 13.4 | 3773.44
220 |  | 3/4" Dia Piping | 453 | 10% | 498.3 | LF | 14.3 | 7125.69
221 |  | 1-1/2" Dia Piping | 276 | 10% | 303.6 | LF | 16.5 | 5009.4
222 |  | 1-1/4" Dia Piping | 109 | 10% | 119.9 | LF | 16.5 | 1978.35
223 |  | 1-4/2" Dia Piping | 113 | 10% | 124.3 | LF | 16.6 | 2063.38
224 |  | 2-1/2" Dia Piping | 78 | 10% | 85.8 | LF | 18.7 | 1604.46
Plumbing Fixtures
225 |  | Water Closet | 2 | 0% | 2 | EA | 490 | 980
226 |  | Floor Drain | 3 | 0% | 3 | EA | 180 | 540
227 |  | Lavatory | 3 | 0% | 3 | EA | 640 | 1920
228 |  | Shower Head | 2 | 0% | 2 | EA | 920 | 1840
229 |  | Backflow Preventer | 4 | 0% | 4 | EA | 270 | 1080
230 |  | Main Shut Off Valve | 4 | 0% | 4 | EA | 160 | 640
231 |  | Electric Water Heater, Manufacturer And Model No: Enlb-50, Storage Capacity: 48 Gallon, Input: 4.5 Kw | 2 | 0% | 2 | EA | 1430 | 2860
232 |  | Expansion Valve | 2 | 0% | 2 | EA | 75 | 150
233 |  | T & P Relief Valve | 2 | 0% | 2 | EA | 34 | 68
234 |  | Vacuum Relief Valve | 2 | 0% | 2 | EA | 80 | 160
235 |  | Dielectric Fittings | 2 | 0% | 2 | EA | 200 | 400
236 |  | Hose Bib | 4 | 0% | 4 | EA | 76 | 304
237 |  | Drain Pans | 2 | 0% | 2 | EA | 165 | 330
238 |  | Non Freeze Wall Hydrant Backflow Protected Loose Key | 2 | 0% | 2 | EA | 300 | 600
239 |  | Recirculation Pump Water Heater Closet Inline Type, Flow: 1 Gpm, Rpm: 3600 | 1 | 0% | 1 | EA | 220 | 220
|  | SUB-TOTAL | [6 empty] | 109787.9816
DIV.23 |  | MECHANICAL (HVAC)
Mechanical Fixtures
240 |  | Ck-0.7: Vrf Indoor Unit, Manufacturer And Model No: York, Yicm008B21S, Cfm: 424.0, Voltage: 208-230V, 1-Phase, Weight: 35 Lbs | 16 | 0% | 16 | EA | 1974 | 31584
241 |  | Ck-1.0: Vrf Indoor Unit, Manufacturer And Model No: York, Yicm012B21S, Cfm: 459.0, Voltage: 208-230V, 1-Phase, Weight: 35 Lbs | 7 | 0% | 7 | EA | 2095 | 14665
242 |  | Ck-1.5: Vrf Indoor Unit, Manufacturer And Model No: York, Yicm018B21S, Cfm: 565.0, Voltage: 208-230V, 1-Phase, Weight: 43 Lbs | 4 | 0% | 4 | EA | 2200 | 8800
243 |  | Ceiling Mounted Exhaust Fan, Manufacturer And Model No: Panasonic Fv-05-11Vksl1, Dimensions: 14.5"X17"X11.5"H--16Lbs-6" Duct | 16 | 0% | 16 | EA | 450 | 7200
244 |  | Wall Cap, Manufacturer And Model No: Seiho, Size: 4" Hooded Vent, Dimensions: 7.5"X7.5"X1.5" | 32 | 0% | 32 | EA | 230 | 7360
245 |  | Wall Cap, Manufacturer And Model No: Seiho, Size: 4" Hooded Vent, Dimensions: 10"X9"X5" | 12 | 0% | 12 | EA | 230 | 2760
246 |  | Vrf Outdoor Units Heat Recovery Simultane Heat And Coil, Manufacturer And Model No: York, Yvahp036B21S, Voltage: 208V, 1-Phase, 60Hz, Weight Gross: 267 Lbs | 10 | 0% | 10 | EA | 4980 | 49800
247 |  | Fire Damper | 108 | 0% | 108 | EA | 25 | 2700
248 |  | Programmable Thermostat | 28 | 0% | 28 | EA | 55 | 1540
Mechanical Air Devices
249 |  | Louver Face Ceiling Diffuser, Manufacturer And Model No: Titus Tdca, Border 1, Provide With Round To Square Adopter With Opposable Blade Damper | 10 | 0% | 10 | EA | 120 | 1200
250 |  | Louver Face 2X2 Lay-In Ceiling Diffuser, Manufacturer And Model No: Titus Tdca, Border 3, Provide With Round To Square Adopter With Opposable Blade Damper | 22 | 0% | 22 | EA | 185 | 4070
251 |  | Double Deflectio Register For Sheet Rock Installation Provide With Round To Square Adopter, Manufacturer And Model No: Titus 272Rs | 14 | 0% | 14 | EA | 220 | 3080
252 |  | Double Deflectio Grille For Sheet Rock Installation Provide With Round To Square Adopter, Manufacturer And Model No: Titus 25 Rs | 10 | 0% | 10 | EA | 145 | 1450
253 |  | Double Deflection Grille For Sheet Rock Installation With Opposable Blade Damper Aluminum Type, Manufacturer And Model No: Titus 25 Rs | 8 | 0% | 8 | EA | 150 | 1200
Mechanical Ductwork
254 |  | 4" Dia Round Duct | 202 | 10% | 222.2 | LF | 21.2 | 4710.64
255 |  | 6" Dia Round Duct | 318 | 10% | 349.8 | LF | 21.5 | 7520.7
256 |  | 10" Dia Round Duct | 110 | 10% | 121 | LF | 22.6 | 2734.6
257 |  | 10X14 Rectangular Duct | 43 | 10% | 47.3 | LF | 34.2 | 1617.66
258 |  | 12X28 Rectangular Duct | 174 | 10% | 191.4 | LF | 34.5 | 6603.3
259 |  | 16X48 Rectangular Duct | 232 | 10% | 255.2 | LF | 36.8 | 9391.36
260 |  | 18X32 Rectangular Duct | 123 | 10% | 135.3 | LF | 38.5 | 5209.05
261 |  | 8X18 Rectangular Duct | 117 | 10% | 128.7 | LF | 29.7 | 3822.39
262 |  | 8X14 Rectangular Duct | 29 | 10% | 31.9 | LF | 28.6 | 912.34
Mechanical Piping
263 |  | Condensate Piping | 1263 | 10% | 1389.3 | LF | 23.6 | 32787.48
264 |  | Refrigerant Piping | 1542 | 10% | 1696.2 | LF | 23.6 | 40030.32
Allowance Allocations
265 |  | Allowance For Mechanical Fixing And Valves | 1 | 0% | 1 | LS | 3000 | 3000
|  | SUB-TOTAL | [6 empty] | 255748.84
DIV.26 |  | ELECTRICAL
Electrical Lighting Fixtures
266 |  | C1 Lighting: Ceiling Mounted Light Fixture, Manufacturer And Model No: Tbd | 8 | 0% | 8 | EA | 220 | 1760
267 |  | C2 Lighting: Ceiling Mounted Light Fixture, Manufacturer And Model No: Tbd | 2 | 0% | 2 | EA | 220 | 440
268 |  | Sl1 Lighting: Ceiling Mounted Light Fixture, Manufacturer And Model No: Tbd | 8 | 0% | 8 | EA | 220 | 1760
269 |  | Sl2 Lighting: Ceiling Mounted Light Fixture, Manufacturer And Model No: Tbd | 2 | 0% | 2 | EA | 220 | 440
270 |  | U1 Lighting: Ceiling Mounted Light Fixture, Manufacturer And Model No: Tbd | 24 | 0% | 24 | EA | 220 | 5280
271 |  | U10 Lighting: Ceiling Mounted Light Fixture, Manufacturer And Model No: Tbd | 10 | 0% | 10 | EA | 220 | 2200
272 |  | U2 Lighting: Ceiling Mounted Light Fixture, Manufacturer And Model No: Tbd | 32 | 0% | 32 | EA | 220 | 7040
273 |  | U3 Lighting: Ceiling Mounted Light Fixture, Manufacturer And Model No: Tbd | 8 | 0% | 8 | EA | 220 | 1760
274 |  | U4 Lighting: Ceiling Mounted Light Fixture, Manufacturer And Model No: Tbd | 44 | 0% | 44 | EA | 220 | 9680
275 |  | U5 Lighting: Ceiling Mounted Light Fixture, Manufacturer And Model No: Tbd | 29 | 0% | 29 | EA | 220 | 6380
276 |  | U6 Lighting: Wall Mounted Light Fixture, Manufacturer And Model No: Tbd | 20 | 0% | 20 | EA | 220 | 4400
277 |  | U7 Lighting: Ceiling Mounted Light Fixture, Manufacturer And Model No: Tbd | 10 | 0% | 10 | EA | 220 | 2200
278 |  | U8 Lighting: Ceiling Mounted Light Fixture, Manufacturer And Model No: Tbd | 18 | 0% | 18 | EA | 220 | 3960
279 |  | U9 Lighting: Ceiling Mounted Light Fixture, Manufacturer And Model No: Tbd | 5 | 0% | 5 | EA | 270 | 1350
280 |  | Remote Emergency Lighting, Manufacturer And Model No: Tbd | 5 | 0% | 5 | EA | 270 | 1350
281 |  | Remote Emergency Lighting Weatherproof, Manufacturer And Model No: Tbd | 7 | 0% | 7 | EA | 270 | 1890
282 |  | Universal Mounted Exit Sign With Double Faced | 4 | 0% | 4 | EA | 270 | 1080
Electrical Power Fixtures
283 |  | Apartment Load Center Recessed | 6 | 0% | 6 | EA | 120 | 720
284 |  | Disconnect Switch, 40/2 | 10 | 0% | 10 | EA | 430 | 4300
285 |  | Door Bell Chime | 4 | 0% | 4 | EA | 230 | 920
286 |  | Dry Type Transformer | 1 | 0% | 1 | EA | 240 | 240
287 |  | Duplex Outlet Receptacle | 163 | 0% | 163 | EA | 185 | 30155
288 |  | Duplex Outlet Receptacle Ground Fault Circuit Interrupter | 127 | 0% | 127 | EA | 190 | 24130
289 |  | Duplex Outlet Receptacle Ground Fault Circuit Interrupter Weatherproof | 4 | 0% | 4 | EA | 210 | 840
290 |  | Electrical Motor | 21 | 0% | 21 | EA | 120 | 2520
291 |  | Electrical Push Button | 4 | 0% | 4 | EA | 150 | 600
292 |  | Low Voltage Box | 12 | 0% | 12 | EA | 320 | 3840
293 |  | Single Pole Light Switch | 175 | 0% | 175 | EA | 120 | 21000
294 |  | Television Cable Outlet Receptacle | 23 | 0% | 23 | EA | 145 | 3335
295 |  | Three Way Light Switch | 38 | 0% | 38 | EA | 145 | 5510
296 |  | Wall Mounted Junction Box | 21 | 0% | 21 | EA | 85 | 1785
297 |  | Wall Mounted Telephone Jack, W/ Jack And Cover | 20 | 0% | 20 | EA | 135 | 2700
298 |  | Telephone Service Termination Board | 1 | 0% | 1 | EA | 450 | 450
299 |  | 400A/Mcb/120-240/1Ph-3-Wires/65Ka Rated Meter Bank | 1 | 0% | 1 | EA | 950 | 950
300 |  | 100A/120-240/1Ph-3-Wires Residential Meter/Breaker Socket | 11 | 0% | 11 | EA | 155 | 1705
Electrical Panelboards
301 |  | Panel H120-240V, 1-Phase, 3-Wires, Mlo: 100, 24 Circuit Panel Board | 1 | 0% | 1 | EA | 1575 | 1575
302 |  | Panel H120-240V, 1-Phase, 3-Wires, Mlo: 125, 24 Circuit Panel Board | 10 | 0% | 10 | EA | 1480 | 14800
Allowance Allocations
303 |  | Allowance For Electrical Wirings, Conduits And Fixings | 1 | 0% | 1 | LS | 3500 | 3500
|  | SUB-TOTAL | [6 empty] | 178545
DIV.28 |  | ELECTRONIC SAFETY & SECURITY
Fire Alarm Systems
304 |  | Addressible Fire Alarm Pull Station | 2 | 0% | 2 | EA | 66 | 132
305 |  | Fire Alarm Beacon, Sprinkler Bell | 1 | 0% | 1 | EA | 125 | 125
306 |  | Fire Alarm Control Panel | 1 | 0% | 1 | EA | 1850 | 1850
307 |  | Fire Alarm Remote Annuciator With Trouble Buzzer | 1 | 0% | 1 | EA | 220 | 220
308 |  | Fire Pull And Horn/Light Device Per Nfpa 72/. Sychronized, 15Cd | 2 | 0% | 2 | EA | 185 | 370
309 |  | Knox Box | 1 | 0% | 1 | EA | 75 | 75
310 |  | Local Type 110V Smoke Detector, Photoelectric Type With Battery Back-Up "L" Indicates Built-In Strobe 177Cd) Tandem Wired With Other Local Detectors In The Unit | 30 | 0% | 30 | EA | 110 | 3300
311 |  | Local Type Carbon Monoxide Detector | 16 | 0% | 16 | EA | 140 | 2240
312 |  | Low Pressure Switch Wired As Supervisory | 1 | 0% | 1 | EA | 225 | 225
313 |  | Mini Horn/ Temporal Per Nfpa 72 | 20 | 0% | 20 | EA | 180 | 3600
314 |  | Sprinkler System Flow Switch Wiring Only | 1 | 0% | 1 | EA | 200 | 200
315 |  | Sprinkler System Tamper Switch Wiring Only | 2 | 0% | 2 | EA | 200 | 400
316 |  | System Type Smoke Detector Analog Addressible | 5 | 0% | 5 | EA | 250 | 1250
Allowance Allocations
317 |  | Allowance For Fire Alarm Wirings, Conduits And Fixings | 1 | 0% | 1 | LS | 2500 | 2500
|  | SUB-TOTAL | [6 empty] | 16487
DIV.31 |  | EARTHWORK
Excavation
318 |  | Excavation Of Earth With Mechanical Means | 243 | 0% | 243 | CY | 7.9 | 1919.7
|  | SUB-TOTAL | [6 empty] | 1919.7
DIV.32 |  | EXTERIOR IMPROVEMENTS
Fencing
319 |  | 6" High Chain Link Fence | 196 | 10% | 215.6 | LF | 26.5 | 5713.4
320 |  | 6" High Wood Fence | 79 | 10% | 86.9 | LF | 37.2 | 3232.68
Pavings
321 |  | Vertical Granite Curb | 210 | 10% | 231 | LF | 25 | 5775
322 |  | Permeable Pavers | 764 | 10% | 840.4 | SF | 15.4 | 12942.16
323 |  | Cement Concrete Sidewalk | 1239 | 10% | 1362.9 | SF | 8.76 | 11939.004
Plantings
324 |  | Landscaping | 2453 | 10% | 2698.3 | SF | 0.94 | 2536.402
325 |  | T1: 24" Caliper Oak Tree | 1 | 0% | 1 | EA | 230 | 230
326 |  | T10: 8" Caliper Oak Tree | 1 | 0% | 1 | EA | 190 | 190
327 |  | T2: 12" Caliper Oak Tree | 1 | 0% | 1 | EA | 200 | 200
328 |  | T3: 8" Caliper Oak Tree | 1 | 0% | 1 | EA | 190 | 190
329 |  | T4: 12" Caliper Oak Tree | 1 | 0% | 1 | EA | 200 | 200
330 |  | T5: 52" Caliper Oak Tree | 1 | 0% | 1 | EA | 360 | 360
331 |  | T6: 26" Caliper Oak Tree | 1 | 0% | 1 | EA | 270 | 270
332 |  | T7: 24" Caliper Oak Tree | 1 | 0% | 1 | EA | 230 | 230
333 |  | T8: 24" Caliper Oak Tree | 1 | 0% | 1 | EA | 230 | 230
334 |  | T9: 32" Caliper Oak Tree | 1 | 0% | 1 | EA | 280 | 280
|  | SUB-TOTAL | [6 empty] | 44518.646
DIV.33 |  | UTILITIES
335 |  | Infilteration Trench | 124 | 10% | 136.4 | LF | 9.4 | 1282.16
336 |  | Sanitary Sewer Cleanout | 3 | 0% | 3 | EA | 3210 | 9630
337 |  | Fire Protective Device Tapping Sleeve And Valves | 2 | 0% | 2 | EA | 1890 | 3780
338 |  | Gas Utility Meter | 1 | 0% | 1 | EA | 490 | 490
339 |  | Brick Red Detective Warning Panel | 1 | 0% | 1 | EA | 540 | 540
|  | SUB-TOTAL | [6 empty] | 15722.16
SUB TOTAL | [8 empty] | 2110423.446
OVERHEAD |  |  | 7% | [5 empty] | 147729.6412
INSURANCE |  |  | 4% | [5 empty] | 84416.9378
PROFIT |  |  | 10% | [5 empty] | 211042.3446
CONTINGENCY |  |  | 4% | [5 empty] | 84416.9378
TOTAL BID | [8 empty] | 2638029.3076